## Abbrevations
LIST OF ABBREVIATIONS
List of Publications Section
D | Dissertation
M | Magazine or Press
S | Symposium
Phd | Phd
CP | Conference Paper/Proceeding
WP | Workhsop Proceeding
UP | University Publication
JP | Journal Paper
BC | Book Chapter
Field of Applications Sections
B | Buildings
HVAC | Heating, Ventilating and Air Conditioning
DHC | District Heating and Cooling
PDS | Power Distribution Systems
HS | Hybrid Systems: cross domain e.g. power and heat

## MODELICA LIB
|  |  | Buildings Library |  |  |  | TRANSIENT |  |  |  | DCOL |  |  |  | IDEAS |  |  |  | District Heating CEA |  |  |  | AIXLIB |  |  |  | ThermoCycle |  |  |  | BuildingSystem |  |  |  | PowerSystem |  |  |  | IPSL
General | Open Source / commercial |  | Open Source: Copyright (c) 2009-2017, The Regents of the University of California, through Lawrence Berkeley National Laboratory (subject to receipt of any required approvals from the U.S. Dept. of Energy); Modelica License 2 |  |  |  | Open Source: Licenced by Hamburg University of Technology under Modelica License 2 |  |  |  | Open Source: Licensed by Fundación Tekniker (IK4-TEKNIKER) under the Modelica License 2 |  |  |  | Licensed by KU Leuven and 3E under the Modelica License 2 |  |  |  | For internal use only. FMU or executables are commonly "packaged" and distributed to industrial partners. |  |  |  | Open Source: RWTH Aachen University |  |  |  | Open Source: Licensed by the individual developers under the Modelica License 2 |  |  |  | Open Source: Licensed by Berlin University of the Arts, Institute for Architecture and Urban PLanning under the Modelica License 2 |  |  |  | This Modelica package is free software and the use is completely at your own risk; it can be redistributed and/or modified under the terms of the Modelica License 2. |  |  |  | Open Source: Licensed by Luigi Vanfretti under the Mozilla Public License Version 2.0
| Simulation environments |  | All models are tested on Dymola 2017 FD01 and JModelica.org 2.0. The results of these simulators have been cross-compared and are equal within the expected tolerance. |  |  |  | All models are tested on Dymola 2017 FD01 and Dymola 2018 |  |  |  | Developed and tested in Dymola 2017 |  |  |  | Models are tested with Dymola 2018. The building envelope part can also be simulated using Jmodelica and OpenModelica but this compatibility is not systematically verified. |  |  |  | All models are tested on Dymola 2018 | [7 empty] | Dymola only |  |  |  | Models tested and running on Dymola. Working on OpenModelica compatiblity. | [7 empty] | All models are tested on OpenModelica (using CI services). The CI implementation uses an outdated version of OpenModelica, but will be updated during 2017.
| Developed by |  | Lawrence Berkeley National Laboratory |  |  |  | Initially developped within BMWi project TransiEnt.EE (03ET4003), 05/2012-04/2017; further development within BMWi project ResiliEntEE (03ET4048), 09/2017-02/2021 |  |  |  | Developed within the EU project INDIGO (New generation of Intelligent & Efficient District Cooling systems ) |  |  |  | Developed by the KU Leuven. |  |  |  | CEA team (Grenoble, France) |  |  |  | AixLib is a Modelica model library for building performance simulations. It is being developed at RWTH Aachen University, E.ON Energy Research Center, Institute for Energy Efficient Buildings and Indoor Climate (EBC) in Aachen, Germany. RWTH Aachen University |  |  |  | Main source for funding was the Belgian ORCnext project, most work carried out by Thermodynamics Laboratory University of Liege, contributions from Department of Mechanical Engineering, Technical University of Denmark |  |  |  | The work carried out within the institute contribute to further develop the BuildingSystems: Projects such as Young Cities (2088-2013), ATES (2012-2016), UCaHS (2013-2016), AMSUN (2013-2017) or EnEff-BIM (2013-2017) | [7 empty] | Initially developed as the iPSL within the iTesla EU project within a consortium. Further developed as the OpenIPSL by the members of SmarTS lab, Luigi Vanfretti's research group students at KTH, Sweden, and ALSETLab, Luigi Vanfretti's research group students at RPI.
| Releases (first/last release, if open source development: commits (last commit), contributors |  | 10 releases (first release 05/13 last release 3/17), 8000+ commits (last 10/17), 20 contributors |  |  |  | 1 major release (04/17), 1 minor fix for Dymola 2018 compatibility (9/17) |  |  |  | * First release: June 26, 2017 * Second release to update DCOL: TBD |  |  |  | First official release February 2016, last release May 2017. 13 direct contributors to source code. More contributors through collaborations within IEA-EBC Annex 60 and IBPSA project 1. |  |  |  | users group: 10-15 developpers: 3 |  |  |  | 12 releases (first release December 16th 2015, latest July 27 27th 2017) 1300+ commits, 24 contributors |  |  |  | v1 13/05/2014, v2 16/12/2014, last commit 30/06/2016 |  |  |  | First oficial release might be related to the publication for the BAUSIM 2012 Nytsch-Geusen, C. et al. "Eine Modellbibliothek zur Simulation komplexer energietechnischer Gebäudesysteme". Most recent release are on 10 Apr. And 22 Mai 2017. Since development history has been truncated, it is hard to say how many commits has been done since the first release. In GitHub there are 7 contributors, but again because of the truncated history, this value is short. there have been more contributors. |  |  |  | 5 releases (04/13 - 01/17) 163 commits (latest 01/17) 7 contributors |  |  |  | 13 releases (releases are created for major changes, and also to archive all given tutorials) (first release Nov 7th 2015, latest August 27th 2017) 609 commits, 11 contributors
| Connectors |  | Fluid: MSL. The Electrical package uses a new type of generalized connector that has been introduced by R. Franke and Wiesman (2014) and is used by the Power Systems Library and the Electric Power Library. |  |  |  | Fluid connectors based on ClaRa Library to which it is fully compatible. It differs from the MSL fluid connector in the media base class and that no extra property C_outflow is declared. Heat connector based on MSL. Main electric connector contain frequency as potantial and active power as flow variables. A second electric connector has an additional potential variable for voltage and a flow variable for reactive power and is hence compatible to Modelica Quasistationary Library |  |  |  | Fluid and heat connectors based on MSL |  |  |  | All connectors are based on MSL. |  |  |  | compatible with the MSL and Buildings |  |  |  | Fluid and heat connectors based on MSL |  |  |  | Fluid and heat connectors compatible with MSL, custom heat connectors used internally, converters available |  |  |  | mainly MSL with some specific connectors. |  |  |  | The electric connector is compatible with the following Modelica libraries: Electric Power Library developed by Modelon, and Power Systems Library developed by Ruediger Franke (ABB). |  |  |  | PwPin connector for complex representation of the positive sequence voltage and current phasor.
| Media library (if fluid) |  | This package contains media models for water and moist air. The media models in this package are compatible with Modelica.Media but the implementation is in general simpler, which often leads to more efficient simulation. Due to the simplifications, the media model of this package are generally accurate for a smaller temperature range than the models in Modelica.Media, but the smaller temperature range may often be sufficient for building HVAC applications. |  |  |  | The media package contains records defining media models based on the TILMedia interface. The full version of the TILMedia Library (TLK Thermo GmbH) is commercial, but the already defined media records are freely useable: moist and dry air, ideal natural gas mixtures with four, six, and seven components, real natural gas mixtures (equation of state-based) with up to 10 components. |  |  |  | The media models are based on Modelica.Media (MSL) |  |  |  | See Annex 60 and IBPSA project 1: Media models with temperature-independent thermal properties. |  |  |  | Simplified almost constant property fluid (water, thermal oil …) |  |  |  | Based on IBPSA |  |  |  | Uses a custom version of EXternalMedia (also works with standard ExternalMedia), formerly used CoolProp2Modelica, has a few incompressible heat transfer fluids |  |  |  | Media originally from IBPSA library, not any new Media within the library. | [7 empty] | None
| Publications: Library developments and based on Applications |  | See http://simulationresearch.lbl.gov/modelica/publications.html |  |  |  | See https://www.tuhh.de/transient-ee/en/publications.html Andresen, Lisa, Dubucq, Pascal, Peniche Garcia, Ricardo, Ackermann, Günter, Kather, Alfons, and Schmitz, Gerhard: "Status of the TransiEnt Library: Transient Simulation of Coupled Energy Networks with High Share of Renewable Energy." In: Proceedings of the 11th International Modelica Conference. Versailles, France, pages 695–705. doi: 10.3384/ecp15118695, Sept. 2015. |  |  |  | del Hoyo Arce, Itzal; Herrero López, Saioa; López Pérez. Susana; Rämä, Miika; Klobut, Krzysztof; Febres, Jesus A 2017 "Models for fast modelling of district heating and cooling networks" Renewable and Sustainable Energy Reviews |  |  |  | Baetens, R., De Coninck, R., Jorissen, F., Picard, D., Helsen, L., Saelens, D. (2015). OpenIDEAS - An Open Framework for Integrated District Energy Simulations. Proceedings of Building Simulation 2015 - Int. Conference of the Int. Buildings Performance Simulation Association. Hyderabad (India), 7-9 December 2015. Jorissen, F., W. Boydens, and L. Helsen. 2017. “Validated air handling unit model using indirect evaporative cooling.” Journal of Building Performance Simulation doi:10.1080/19401493.2016.1273391. Advance online publication Baetens, Ruben. 2015. “On externalities of heat pump-based low-energy dwellings at the low-voltage distribution grid.” PhD diss., KU Leuven. De Coninck R., Baetens R., Saelens D., Woyte A., Helsen L. (2014). Rule-based demand side management of domestic hot water production with heat pumps in zero energy neighbourhoods. Journal of Building Performance Simulation, 7 (4), 271-288. Baetens R., De Coninck R., Van Roy J., Verbruggen B., Driesen J., Helsen L., Saelens D. (2012). Assessing electrical bottlenecks at feeder level for residential net zero-energy buildings by integrated system simulation. Applied Energy, 96, 74-83. Jorissen, Filip, Michael Wetter, and Lieve Helsen. 2015. “Simulation Speed Analysis and Improvements of Modelica Models for Building Energy Simulation.” In 11th International Modelica Conference, edited by Peter Fritzson and Hilding Elmqvist, Paris, 59–69. Modelica Association. Jorissen, Filip, and Lieve Helsen. 2016. “Towards an Automated ToolChain for MPC in Multi-zone Build- ings.” In International High Performance Buildings Conference, West-Lafayette, Indiana, Paper 202. Picard, Damien, Filip Jorissen, and Lieve Helsen. 2015. “Methodology for Obtaining Linear State Space Building Energy Simulation Models.” In 11th International Modelica Conference, edited by Peter Fritzson and Hilding Elmqvist, Paris, 51–58. Modelica Association and Linkoping University Electronic Press. Picard, Damien, Maarten Sourbron, Filip Jorissen, Zdenˇek V ́a n ˇ a, Jiˇr ́ı Cigler, Luk ́aˇs Ferkl, and Lieve Helsen. 2016. “Comparison of Model Predictive Control Performance Using Grey-Box and White-Box Controller Models of a Multi-zone Office Building.” In International High Performance Buildings Conference, West- Lafayette, Indiana, Paper 203. Protopapadaki, Christina, and Dirk Saelens. 2017. “Heat pump and PV impact on residential low-voltage distribution grids as a function of building and district properties.” Applied Energy 192: 268–281, doi:10.1016/j.apenergy.2016.11.103. Reynders, G., J. Diriken, and D. Saelens. 2014. “Quality of grey-box models and identified parame- ters as function of the accuracy of input and observation signals.” Energy & Buildings 82: 263–274, doi:10.1016/j.enbuild.2014.07.025. Reynders, G., T. Nuytten, and D. Saelens. 2013. “Potential of structural thermal mass for demand-side management in dwellings.” Building and Environment 64: 187–199, doi:10.1016/j.buildenv.2013.03.010. Reynders, Glenn. 2015. “Quantifying the impact of building design on the potential of structural storage for active demand response in residential buildings.” PhD diss., KU Leuven. De Coninck, Roel, Fredrik Magnusson, Johan ̊ Akesson, and Lieve Helsen. 2015. “Toolbox for development and validation of grey-box building models for forecasting and control.” Journal of Building Performance Simulation (June): 1–16, doi:10.1080/19401493.2015.1046933. Baetens, Ruben, and Dirk Saelens. 2016. “Modelling uncertainty in district energy simulations by stochas- tic residential occupant behaviour.” Journal of Building Performance Simulation 9 (4): 431–447, Doi:10.1080/19401493.2015.1070203. Picard D. (2017). Modeling, Optimal Control and HVAC Design of Large Buildings using Ground Source Heat Pump Systems, PhD diss., KU Leuven |  |  |  | Loïc Giraud, Roland Bavière, Mathieu Vallée, Cédric Paulus, “Presentation, Validation and Application of the DistrictHeating Modelica Library”, The 11th International Modelica Conference ,Versailles, France , September 21 -23, 2015 Loïc Giraud, Massinissa Merabet, Roland Bavière, Mathieu Vallée, “Optimal Control of District Heating Systems using Dynamic Simulation and Mixed Integer Linear Programming”, Proceedings of the 12th International Modelica Conference May 15-17, 2017, Prague, Czech Republic, doi 10.3384/ecp17132141 |  |  |  | See http://www.ebc.eonerc.rwth-aachen.de/cms/E-ON-ERC-EBC/Forschung/~dnbb/Publikationen/lidx/1/?search=aixlib&page= In: [Proceedings of Building Simulation 2017: 15th Conference of IBPSA, BS2017, 2017-08-07 - 2017-08-09, San Francisco, USA / Editors: Charles S. Barnaby and Michael Wetter], 2017 [DOI: 10.26868/25222708.2017.303] Lauster Moritz Robert, Constantin Ana, Remmen Peter, Fuchs Marcus, Müller Dirk AixLib - An Open-Source Modelica Library within the IEA-EBC Annex60 Framework In: Proceedings of the CESBP Central European Symposium on Building Physics and BauSIM 2016 : September 14-16, 2016, Dresden, Germany / editor: Technische Universität Dresden, J. Grunewald ; international scientific committee (CESBP): John Grunewald (Dresden, Germany, chair) [und 21 weitere] ; scientific committe (BauSIM): John Grunewald (Dresden, Germany), Clemens Felsmann (Dresden, Germany) [und 18 weitere], 2016 Müller Dirk, Lauster Moritz Robert, Constantin Ana, Fuchs Marcus, Remmen Peter Structuring the building performance modelica library AixLib for open collaborative development In: [14th International Conference of the International Building Performance Simulation Association , 14th IBPSA, 07.12.2015-09.12.2015, Hyderabad, India], 2015 Fuchs Marcus, Constantin Ana, Lauster Moritz, Remmen Peter, Streblow Rita |  |  |  | See http://www.thermocycle.net/?page_id=22 |  |  |  | See https://www.udk-berlin.de/studium/architektur/fachgebiete-der-architektur/versorgungsplanung-und-versorgungstechnik/publikationen/ BAUSIM 2012 Nytsch-Geusen, C. et al. "Eine Modellbibliothek zur Simulation komplexer energietechnischer Gebäudesysteme". Nytsch-Geusen, Christoph; Banhardt, Christoph; Inderfurth. Alexander; Mucha, Katharina; Möckel, Jens; Rädler, Jörg; Thorade, Matthis; Tugores, Carles (2016). BuildingSystems – Eine modular hierarchische Modell-Bibliothek zur energetischen Gebäude- und Anlagensimulation. BAUSIM 2016 IBPSA Germany, 14.-16. September. Conference Proceedings. Dresden. |  |  |  | Franke, R.; Wiesmann, HJ.: Flexiblemodeling of electrical powersystems– the Modelica PowerSystems library,Modelica Conference2014, Sustainable Places 2015 Proceedings; Co-Simulating Event-B and Continuous Models via FMI, Optimal unit commitment in Microgrids withfrequency reserve constraints |  |  |  | L. Vanfretti, T. Rabuzin, M. Baudette, and M. Murad, iTesla Power Systems Library (iPSL): A Modelica library for phasor time-domain simulations, SoftwareX, Available online 18 May 2016, ISSN 2352-7110 T. Bogodorova and L. Vanfretti, "Model Structure Choice for a Static VAR Compensator under Modeling Uncertainty and Incomplete Information," in IEEE Access, vol. PP, no. 99, pp. 1-1. DOI: https://doi.org/10.1109/ACCESS.2017.2758845 T. Bogodorova, L. Vanfretti, V.S. Peric, and K. Turitsyn, “Identifying Uncertainty Distributions and Confidence Regions of Power Plant Parameters,” IEEE Access, September 2017. https://doi.org/10.1109/ACCESS.2017.2754346 L. Vanfretti, S.H. Olsen, V.S. Narasimham Arava, G. Laera, A. Bidadfar, T. Rabuzin, S. H. Jakobsen, J. Lavenius, M. Baudette and F.J. Gómez-López, “An Open Data Repository and a Data Processing Software Toolset of an Equivalent Nordic Grid Model Matched to Historical Electricity Market Data,” Data in Brief (Elsevier), February 17th 2017. http://dx.doi.org/10.1016/j.dib.2017.02.021 M. A. Adib Murad, L. Vanfretti, M. Rokonuzzaman, and R. A. Tuhin, “Enhancing Engineering Studies in Developing Countries using OpenModelica,” 2017 4th International Conference on Advances in Electrical Engineering (ICAEE 2017), Dhaka, Bangladesh, 28 Sep - 30 Sep 2017. http://icaee.net L. Vanfretti, M.A. Adib Murad, F.J. Gómez-López, “Calibrating a VSC-HVDC Model for Dynamic Simulations using RaPId and EMTP Simulation Data,” IEEE PES GM 2017, July 16-20, 2017, Sheraton Grand Chicago Hotel. Chicago, Illinois, U.S.A. http://www.pes-gm.org/2017/ T. Rabuzin, M. Baudette, and L. Vanfretti, “Continuous Integration of Modelica Models for Power System Dynamic Components and Networks,” IEEE PES GM 2017, July 16-20, 2017, Sheraton Grand Chicago Hotel. Chicago, Illinois, U.S.A. http://www.pes-gm.org/2017/
| Field of applications |  | B, HVAC, DHC , PDS, HS |  |  |  | HS, DHC, PDS |  |  |  | DC: Generation, Distribution, Storage & Consumption (HVAC systems) |  |  |  | Building Envelope, HVAC, Rule based control, Model predictive control, DH, distribution grids |  |  |  | DHC, HS, Thermal system |  |  |  | B, DHC |  |  |  | HVAC, ORC, refrigeration, plate heat pumps, heat exchangers, solar collectors |  |  |  | energy-related building and plant simulation |  |  |  | PDS |  |  |  | PDS (phasor/RMS fundamendal frequency) in time-domain and linear analysis (small-signal/eigenanalysis and frequency domain). Interface with 3phase models under implementation.
| Details (applications) |  | HVAC systems,controls,heat transfer among rooms and the outside,multizone airflow, including natural ventilation and contaminant transport,single-zone computational fluid dynamics coupled to heat transfer and HVAC systems,data-driven load prediction for demand response applications, andelectrical DC and AC systems with two- or three-phases that can be balanced and unbalanced. |  |  |  | System modelling and simulation of coupled or separate energy supply systems, electricity, heating, and gas networks, power-to-gas, power-to-heat, gas, thermal, and electric storage units, central and decentralized fossil and renewable energy-based producer, different levels of detail, central power plants can provide primary and secondary balancing power, frequency control, composition in gas mixtures is variable so that the one-dimensional diffusion of hydrogen in a pipe can be observed, important statistics as energy (flows), CO2 emissions, and costs can be collected. |  |  |  | This library is meant to support the District Cooling (DC) systems’ designers (private ESCOSs and others). The models provide detailed information about physical behaviour of DC system components, thus allowing for a better overall system design. In addition, the library is used within INDIGO to produce simpler models to support model-based applications. Particularly, the models are reduced to build the model predictive controllers developed in the project. |  |  |  | Building Envelope, HVAC, Rule based control, Model predictive control, district heating, distribution grids |  |  |  | Design of thermal systems, Control and Operationnal Optimization of thermal systems, thermal solar power, CSP, Heat storage (sensible heat, phase change material ...) | [7 empty] | Detailed compressor/expander models, discretized and moving boundary heat exchangers, controller tuning possible, examples |  |  |  | Different types of buildings (one and multizone) can be modeled. The energy supply system, in a building and district level, can be also modeled, Model for renewables such as PV and solar thermal (storage incl. ) are also part of the BuildingSystems library. | [7 empty] | Power system dynamics, stability and control design simulations
| The library is/was used by industry / academia | [5 empty] | A regional energy supplier used the library for the economic analysis of different operation strategies of the decentralized CHP, gas boiler, thermal storage, and power-to-heat units under consideration of the hydraulic restrictions in the district heating network. Several research institutes such as Gas-Wärme-Institut Essen and Fraunhofer IWES. | [7 empty] | The library is primarily used by academia. The associated fast buildings library is also used by 3E. |  |  |  | Internal use by members of our research group. FMU and executables models are distributed to industrial partners | [7 empty] | Library used at Ulg and DTU, not sure to which extent |  |  |  | Used within the research group and externally (Students, ,,,) | [7 empty] | Mostly internal use by the development team.
|  |  | Available | Number of tests / examples | Validated | Description | Available | Number of tests / examples | Validated | Description | Available | Number of tests / examples | Validated | Description | Available | Number of tests / examples | Validated | Description | Available | Number of tests / examples | Validated | Description | Available | Number of tests / examples | Validated | Description | Available | Number of tests / examples | Validated | Description | Available | Number of tests / examples | Validated | Description | Available | Number of tests / examples | Validated | Description | Available | Number of tests / examples | Validated | Description
Buildings and Thermal zones |  |  |  | 58 | [19 empty] | 25
Reduced order
|  | Equivalent air temperature | x |  |  | This package contains models to calculate an equivalent air temperature taking into account short-wave and long-wave radiation on exterior surfaces.
|  | Reduced order |  |  | VDI 6007 Part 1 | Thermal Zone with one element , two elements, three and four. | will be included |  |  | The whole air within a building is calculated as one thermal zone. A distinction in several rooms is not integrated. The structure of the exterior walls can be defined. Inner walls are modelled as heat capacitors only. Windows are computed as one-layer heat conductors. Solar gains, ventilation and inner heat gains are modelled in seperate modells. | [12 empty] | x |  | ASHRAE 140 and VDI 6007 | [5 empty] | x
| Mixed Air |  | x |  | BestTest; LBNL 71T | Room model that assumes the air to be completely mixed. | [24 empty] | x
| CFD |  | x |  | Zuo et al. (2014) | Room model that computes the room air flow using computational fluid dynamics (CFD). The CFD simulation is coupled to the thermal simulation of the room and, through the fluid port, to the air conditioning system.Currently, the supported CFD program is the Fast Fluid Dynamics (FFD) program
| Higher Order Model | [21 empty] | x |  | ASHRAE 140 and VDI 6007
District heating and cooling |  |  |  | 14 |  |  |  | 22 |  |  |  | 21 | [11 empty] | 50+ | [9 empty] | The package contain a few examples to show how a DHN can be modeled. Main attention is prayed to the pipe models. Including models to calculate heat loss coefficient depending on construction/deploiment.
| Pipe |  |  |  |  | Availabel in IBPSA library |  |  |  | available in Clara Library |  | 7 |  | available in Clara Library
|  | Steady state | x | [6 empty] | available in Clara Library
|  | Dynamic | x |  | Measurements | Plug flow approach, including a model for heat losses. Bram 2017 |  |  |  | available in Clara Library | x | 7 |  | Plug flow based model of the pipe (fluid only) to be used for modelling and simulation of DC networks. The idea behind this model is to solve the numerical issue called artificial diffusion that most of the actual pipe models present. The model offers some advantages over the most used pipe models: - External temperature profile. The new model allows to input an external temperature profile which matches to the geometrical discretisation of the tube; - Fixed size of the plug flow segments. Since Modelica allows the use of simulation events, every new segment is pulled in only when it has the size defined by a parameter of the model. This feature eases the matching of the discretisation of the pipe and the corresponding external temperature profile; - Convective heat transfer coefficient. The heat transfer model used by the new pipe model considers the convective effect. (BaseClasses.PartialTwoPortPlugFlow). |  |  |  |  | x |  | Measurements, see Loïc GIRAUD, « Modélisation dynamique et Gestion Avancée de réseaux de chaleur », soutenue le 27/10/2016, Doctorat de la communauté université Grenoble Alpes | Plug flow and finite volume approach | [8 empty] | x
| Producer | [6 empty] | 5
|  | simplified | x |  | intern | Model of an ideal heating and cooling plant that takes as a parameter the set point for the leaving fluid temperature. | x | 2 |  | Model of ideal heating and cooling plants which take as parameter the setpoint power. These are available as gasfired (with a gas connector) or electric boilers (with an electric interface) | [8 empty] | x |  |  | Model of an ideal heating and cooling plant that takes as a parameter the set point for the leaving fluid temperature. | [8 empty] | x
|  | sophisticated | x |  | intern | Ideal heating and cooling plant that takes as a parameter the set point for the leaving fluid temperature. The power consumptions are modeled using a vapor compression engine for heating and for cooling. The efficiency of these vapor compression engines varies using the Carnot cycle analogy. | x | 1 |  | Model of combined heat and power plant with second order dynamics and district heating specific choice of diagnostic variables such as emission allocation to heat and electricity production based on different allocation models. Furthermore the library contains a model for a gasfired boiler with a dependency on the gas properties in the connected gas grid | [8 empty] | x |  |  | Ideal heating and cooling plant that takes as a parameter the set point for the leaving fluid temperature. The power consumptions are modeled using a vapor compression engine for heating and for cooling. The efficiency of these vapor compression engines varies using the Carnot cycle analogy.
|  | Power to Heat |  |  |  |  | x | 2 |  | Idealized power-to-heat model based on the target heating power as a setpoint | [11 empty] | Under development | [8 empty] | x |  |  | Model of a cogeneration plant
Industrial waste heat
| Consumer | [6 empty] | 3 | [25 empty] | The library contain mainly two stations, which are similar in the control strategy - trying to keep secundary temperature (consumer) close to the set temperature. Main difference is that one uses a valve to regulate the mass flow rate, and the other one a pump.
|  | Heating | x |  | intern | (i) Substation that removes a prescribed heat flow rate to the water that flows through it. The substation has a built-in pump that draws as much water as needed to maintain the temperature difference dTHex.(ii) Model for a substation with space heating, space cooling and domestic hot water. The model takes as parameters the temperature lift on the primary side and and then draws the required amount of water. | x | 3 | x | Substation based on ambient temperature and linear regression of daily heat demand. In addition typical daily profiles can be used to generate realistic heat profiles. | [20 empty] | x
|  | Cooling | x |  | intern | Substation that adds a prescribed heat flow rate to the water that flows through it. The substation has a built-in pump that draws as much water as needed to maintain the temperature difference dTHex.
| Storage | [6 empty] | 6 |  |  |  | 9
|  | pressure expansion vessel | x |  | intern | This is a model of a pressure expansion vessel. The vessel has a constant pressure that is equal to the value of the parameter p_start. The model takes into account the energy and mass balance of the medium. It has no heat exchange with the ambient. The expansion vessel needs to be used in closed loops that contain water to set a reference pressure and, for liquids where the density is modeled as a function of temperature, to allow for the thermal expansion of the liquid. | x | 1 |  | This is a model of an idealized pressure expansion vessel. The vessel has a constant pressure that is equal to the value of the parameter p. The model sets the specified pressure at the connected fluid port. It has no heat exchange with the ambient. It is an ideal sink/source without any limit in volume that balances mass flow inbalances. The temperature of the fluid in the vessel changes according to the temperature of the inflowing fluid. | [20 empty] | originally from IBPSA |  |  | Mainly used to define a constat pressure (reference) to the system.
|  | stratified storage tank (with and without HX) | x |  | intern | The tank uses several volumes to model the stratification. Heat conduction is modeled between the volumes through the fluid, and between the volumes and the ambient. | x | 5 | Vitocell 160E | The tank uses several volumes to model the stratification. Heat conduction is modeled between the volumes through the fluid, and between the volumes and the ambient. | x | 3 |  | This model represents a closed tank with cylindrical shape for the accumulation of water. The tank uses several volumes to model the stratification. Heat conduction is modelled between the volumes through the fluid, and between the volumes and the ambient. Rectangular and cylindrical tanks have been modelled. | [16 empty] | x |  |  | discretized storate tank, which can be modified by means of boolean. Adding ports at each layers or heat exchangers. Calculates heat conduction between layers and includes a buyancy model, which can be easily edited.
|  | latent storage (external melting) | [8 empty] | x | 6 |  | This model represents a latent storage, where the HTF flow through some internal coils and the PCM (water) flows on the outside of the coils. During charge PCM is solidified, and melted during discharge (cool storage). There are heat losses from the tank to the ambient.
| Decentralized producer | [6 empty] | 8
|  | Solar collectors | x |  | ASHRAE93 test standard; EN12975 test standard; against TRNSYS data | ASHRAE93 and EN12975. | x | 2 |  | Solar flat plate collector model (EN 12975) with effective heat capacity for transient behavior | [20 empty] | x |  |  | discretized solar collector with typical efficiency parameters (c0,c1,c2) and IAM.
|  | Gas Boiler |  |  |  |  | x | 5 |  | static and dynamic models; operation modes: modulating or 1 or 2-staged operation; control modes: a) set thermal power output with variable or b) externally set supply temperature of the fluid (in the latter case the mass flow rate has to be controlled accordingly), c) set supply temperature with variable thermal power output; efficiency charline can be chosen; constant or variable calorific value; in the latter case fuel consumption according to energy content of gas (variable composition possible)
|  | CHP |  |  |  |  | x | 1 |  | CHP with internal combustion engine; linear interpolated efficiency; static and dynamic mechanical and thermal behavior; constant or variable calorific value; in latter case fuel consumption caculated according to its energy content; engine parameters can be specified
| Heat Exchanger (Plates heat exchanger) |  | x |  | intern | (i) with constant effectiveness, (ii) Counterflow coil with discretization along the flow paths and without humidity condensation, (iii) Coil with discretization along the flow paths and no humidity condensation, (iv) Heat exchanger with effectiveness - NTU relation and no moisture condensation, (v) Ideal heater or cooler with a prescribed outlet temperature, (vi) Counterflow coil with discretization along the flow paths and humidity condensation, (vii) Coil with discretization along the flow paths and humidity condensation |  |  |  |  | x | 5 |  | Plates heat exchanger where heat is exchanged between two fluids at different temperatures with out the fluids mixing with each other. (Depending on the type of flow there are two types series and parallel). The number of plates can be selected. Heat losses to the ambient are considered. | [8 empty] | x
HVAC |  |  |  | 260+ |  |  |  | 11 |  |  |  | 16 | [11 empty] | 90+
| Boiler |  | x |  |  | Boiler with efficiency curve described by a polynomial of the temperature | x | 5 | [14 empty] | x
| Chillers |  | x |  | Intern | (i) Chiller with prescribed evaporator leaving temperature and performance curve adjusted based on Carnot efficiency (ii) Chiller with performance curve adjusted based on Carnot efficiency (iii) Electric chiller based on the DOE-2.1 model |  |  |  |  | x | 5 | no, pending data collection | (i)Conventional chiller (two types, one controlled with pressure, and the other controlled with tuning speed) (ii)Absorption chiller with LiBr+H2O as the refrigerant solution. Thermal conductance and capacity are assumed constant (model parameter) for all heat exchangers. Laminar flow is assumed. | [8 empty] | x | [6 empty] | Modelled based on components, all required components available | x |  |  | Model of a compression chiller
| Heat Exchanger (heater or cooler; Cooling and Dehumidifying coil) |  | x |  | intern | (i) with constant effectiveness, (ii) Counterflow coil with discretization along the flow paths and without humidity condensation, (iii) Coil with discretization along the flow paths and no humidity condensation, (iv) Heat exchanger with effectiveness - NTU relation and no moisture condensation, (v) Ideal heater or cooler with a prescribed outlet temperature, (vi) Counterflow coil with discretization along the flow paths and humidity condensation, (vii) Coil with discretization along the flow paths and humidity condensation |  |  |  |  | x | 4 | no, pending data collection | Based on Annex 60. (i) Model for a heat exchanger with constant effectiveness. (ii)Model for an ideal heater or cooler with a prescribed outlet temperature. (iii) Model for an ideal heater or cooler with prescribed heat flow rate to the medium. (iv) Model for a cooling and dehumidification coil that works either in fully-dry regime or fully-wet regime. | [15 empty] | See above | x |  |  | originally from IBPSA
Borefield model
Embedded pipe (e.g. for concrete core activation)
| Radiator for space heating | [21 empty] | x | [7 empty] | x |  |  | originally from IBPSA
| Heat pumps |  | x |  | intern | (i) Heat pump with prescribed condenser leaving temperature and performance curve adjusted based on Carnot efficiency, (ii) Reversible heat pump with performance curve adjusted based on Carnot efficiency | x | 3 |  | Heatpump model with first oder dynamics with different time constants for startup and shutdown, a time relais and a COP which is calculated from a constant efficiency with respect to the ambient temperature dependent carnot efficiency | x | 2 |  | Based on Annex 60 (i) Heat pump with prescribed condenser leaving temperature and performance curve adjusted based on Carnot efficiency. (ii) Reversible heat pump with performance curve adjusted based on Carnot efficiency. | [8 empty] | x | [6 empty] | Modelled based on components, all required components available | x
| Active beam |  | x |  | intern and against other simulation tools | Active beam unit for heating and cooling, Cooling tower, Direct Expansion cooling coil, radiant slab models, radiators models for hydronic space heating systems, models Single U-tube borehole heat exchanger,
| Cooling tower |  | x | [7 empty] | x | 5 | no, pending data collection | (i)In a open cooling tower air is blown through the tower and is used to cool the water sprayed at the top of the tower. The heat transferred is sensible heat (due to the increase of the air temperature) and latent heat (due to the evaporation of part of the water). There is a water basin at the bottom of the tower, where the chilled water is stored. (ii)In a Closed cooling tower both sprayed water and air are used to cool a fluid that flows through a pipe in the tower. The sprayed water extracts the heat of the chilled fluid, when being in contact with the external layer of the pipe; at the same time the air is heated when contacting the sprayed water (sensible heat and latent heat is transferred to the air). There is a water basin at the bottom of the tower, where the chilled water is stored. The tower is divided in nSeg segments. | [8 empty] | x
| Other Models | [5 empty] | x | 3 |  | Some other models included such as decentralized heating systems based on fuel cells (SOFC and PEM); Electrolyzers (Power-to-Gas); Methane Reformers
Power System |  |  |  | 110+ |  |  |  | 18 | [15 empty] | 1 |  |  |  | 77 |  |  |  | 77 |  |  |  | 129 |  |  |  | 77
Transmission
|  | DC | x |  |  |  | x | [19 empty] | Future implementation, but not planned. |  |  | Available HVDC models are only in literature, can't be released because of joint-authorship with operator that does not allow their release. To be re-implemented with PSS/E as a reference. | Future implementation, but not planned. |  |  | Available HVDC models are only in literature, can't be released because of joint-authorship with operator that does not allow their release. To be re-implemented with PSS/E as a reference. | x |  |  |  | Future implementation, but not planned. |  |  | Available HVDC models are only in literature, can't be released because of joint-authorship with operator that does not allow their release. To be re-implemented with PSS/E as a reference.
|  | AC | x |  | IEEE 4 nodes test feeder |  | x |  |  | Transmission line based on constant efficiency and advanced model based on typical line data (Pi-Model) | [16 empty] | x | 11 | 11 | At least 11 IEEE Networks and academic examples under ./ApplicationExamples/ have been validated agains their alternative implementation either in PSS/E or PSAT, e.g. 2-area 4-machine and SMIB Klein-Rogers-Kundur models, IEEE 9-Bus, IEEE 14-Bus, Nordic44 | x | 11 | 11 | At least 11 IEEE Networks and academic examples under ./ApplicationExamples/ have been validated agains their alternative implementation either in PSS/E or PSAT, e.g. 2-area 4-machine and SMIB Klein-Rogers-Kundur models, IEEE 9-Bus, IEEE 14-Bus, Nordic44 | x |  |  |  | x | 11 | 11 | At least 11 IEEE Networks and academic examples under ./ApplicationExamples/ have been validated agains their alternative implementation either in PSS/E or PSAT, e.g. 2-area 4-machine and SMIB Klein-Rogers-Kundur models, IEEE 9-Bus, IEEE 14-Bus, Nordic44
|  | Balanced | x |  |  |  | x |  | no | [17 empty] | x |  |  |  | x |  |  |  | x |  |  |  | x
|  | Unbalanced | x |  | IEEE 4 nodes test feeder | [21 empty] | Coming |  | IEEE 4 nodes test feeder, IEEE 118 Bus + 37 Bus Feeder | A package inspired by the Monotri implementation from Simulight is being implemented for the library | Coming |  | IEEE 4 nodes test feeder, IEEE 118 Bus + 37 Bus Feeder | A package inspired by the Monotri implementation from Simulight is being implemented for the library | x |  |  |  | Coming |  | IEEE 4 nodes test feeder, IEEE 118 Bus + 37 Bus Feeder | A package inspired by the Monotri implementation from Simulight is being implemented for the library
Storage
|  | Battery | x |  |  | Simple model of a battery. This model takes as an input the power to be stored in the battery (if P > 0) or to be extracted from the battery. This model takes into account the efficiency of the conversion between DC and AC ηDCAC. | x | 1 |  | Generic model parameterized to Lithium-Ion and Lead-acid batteries | [12 empty] | x | [7 empty] | x |  |  | Data for LithiumIon and LeadAcid batteries are available | x |  |  |  | Planned for 2018
|  | Flywheel |  |  |  |  | x | 1 |  | Flywheel unit and park models that operates according to frequency deviation; parameters: power, maximum and minimum revolution speed, loss factors, self discharge time, constant efficiency
|  | Hydrogen Storage |  |  |  |  | x | 1 |  | Simple hydrogen cavern model. Mass balance with constant pressure and temperature. Can be coupled to an existing CHP plant (gas-fired) able to co-fire hydrogen at different rates
|  | Hydrogen Storage |  |  |  |  | x | 5 | partly | Single gas volume model, energy and mass balances, with/without heat transfer to environment. Parameters: volume, heat transfer area, heat transfer coefficient, wall thickness, wall material.
Sources
|  | PV | x |  |  | (i) Model of a simple photovoltaic array. (ii) Simple PV model with orientation | x | 3 |  | The library includes several PV module models ranging from simple efficiency based models to models depending on inclination angle etc. | [12 empty] | x | [6 empty] | Solar thermal collectoes | x |  |  | Simple model and model with maximum power point "track" (MPP) |  |  |  |  | x |  | (i) Simple PV model from PSAT, (ii) PV model with controls validated against reference implementation in DigSilent PowerFactory
|  | Wind | x |  |  | Wind turbine with power output based on table as a function of wind speed | x | 3 |  | Wind turbine with power output based on characteristic table data for the aerodynamics. Includes a model for rotor angular velocity and stored kinetic energy for simulations with Synthetic Inertia technology | [24 empty] | x |  |  |  | x |  | PSAT Wind turbine, GE Model, PSSE WT4G1/E1
|  | Generator | x |  |  | Model of a generator that produces real power P with a given phase shift phiGen. | [32 empty] | x |  | Various models from PSSE and PSAT
|  | Fuel Cell |  |  |  |  | x | 2 |  | SOFC and PEM fuell cell models with steam reformer models for decentralized heat and power generation | [28 empty] | x |  | Various models from PSSE and PSAT
|  | Synchronous Machines | [32 empty] | x
|  | Induction Machines | [32 empty] | x
Associated Tools |  |  | BuildingsPy is a Python package that can be used torun Modelica simulation using Dymolaprocess *.mat output files that were generated by Dymola or OpenModelica.run unit tests as part of the library development. | [11 empty] | Additional frameworks (see papers and https://github.com/open-ideas): 1) Linearisation approach for MPC 2) Grey-box toolbox and fastbuildings library 3) Strobe |  |  |  | To build optimal control or more simple co-simulation applications, we rely on an internal framework called PEGASE | [11 empty] | The library has always used the netCDF-DataReader developed by a colleague of the UdKBerlin to read weather data files. |  |  |  | The library has always used the netCDF-DataReader developed by a colleague of the UdKBerlin to read weather data files. |  |  |  | Most models in the library are validated against a reference software tool, including: PSS/E, PSAT and DigSilent PowerFactory. The following reference shows a workflow to update the Nordic44 model using dispatch data from the Nordic market operator, Nordpool. The updated snapshots allow to start dynamic simulations using the Nordic44 model in Modelica tools and aims to get a "good" representation of the Nordic grid for certain dynamics. Power flow results are used to help the Modelica tools in the initialization problem by providing good guess values of internal component states. L. Vanfretti, S.H. Olsen, V.S. Narasimham Arava, G. Laera, A. Bidadfar, T. Rabuzin, S. H. Jakobsen, J. Lavenius, M. Baudette and F.J. Gómez-López, “An Open Data Repository and a Data Processing Software Toolset of an Equivalent Nordic Grid Model Matched to Historical Electricity Market Data,” Data in Brief (Elsevier), February 17th 2017. http://dx.doi.org/10.1016/j.dib.2017.02.021

## SIMULINK
|  | CARNOT |  |  |  | HAMBase
Open Source / commercial |  | Open source: 3-clause BSD license |  |  |  | Open Source No License
Simulation environments |  | Published version developed under Matlab 2013 b, present developments for Matlab 2016b |  |  |  | All models are tested on Matlab Simulink 2011-2016
Developed by |  | Originally developed at Solar-Institut Jülich of FH Aachen, presently a group of companies and universities actively contribute to further development |  |  |  | Initially developed by Martin de Wit and Jos van Schijndel Eindhoven University of Technolopgy
Releases (first/last release, if open source development: commits (last commit), contributors |  | >20 releases (first 1998, latest 2017), 12 contributors |  |  |  | 2 releases (first release 01/10 last release 4/13)
Connectors |  | Several bus-type signals: Weather data, thermohydraulic for HVAC devices, Vector-based signals: Air infiltration vector, S vector (thermal power) for building model |  |  |  | Variables Input: heating power [W], (de)humification [kg/s], Output: Tair [oC] RH air [-] per block
Media library (if fluid) |  | Media properties are contained in the file carlib. Most property data are valid in the temperature range 0°C ... 100 °C. Properties based on: * Adunka, Franz: Handbuch der Wärmeverbrauchsmessung, Vulkan Verlag, 1991 * Baehr, Hans Dieter, Berlin, Springer Verlag, 2000 * Duffie, Beckman: Solar Engineering of Thermal Processes, 2006 * Glueck Bernd: Zustands- und Stoffwerte, Verlag für Bauwesen, Berlin 1991 * IAPWS, Revised Release on the Pressure along the Melting and Sublimation Curves of Ordinary Water Substance, www.iapws.org, september 2011 * VDI-Wärmeatlas 1988 * EN 12975-2, 2006 * Tyforop data sheet for water glycol mixture (2004) |  |  |  | The HAMBase model is implemented in an S-Function by splitting the energy and vapour flows into two parts. First, a discrete part was developed for modeling ‘slow responses’ i.e. the transmittance through walls. Second, a continuous part was developed for the ’fast responses’ i.e. admittance, ventilation, heat gains, etc. Detailed information can be found at (de Wit 2006). This new model, named HAMBase_S (abbreviation for HAMBase model in SimuLink) to avoid confusion, is able to simulate complicated HVAC installations and controls simultaneously with the building. The main advantages are: a) The dynamics of the building systems where small time scales play an important role (for example on/off switching) are accurately simulated. b) The model becomes time efficient because the computation of the ‘slow response’ part of the model only takes place at an hourly intervals and not on every (much smaller) time step of the ‘fast response’ part of the model. c) The moisture (vapour) transport model of HAMBase_S is also included. With this feature, the (de-) humidification of HVAC systems can also be simulated. So the main difference between HAMBase and HAMBase_S is time stepping. HAMBase has fixed step sizes of one hour. HAMBase_S has variable step sizes (ranging from smaller than a second to 15 minutes) depending on the model parameters.
Publications: Library developments and based on Applications |  | Wemhöner, C., Hafner, B., & Schwarzer, K. (2000). Simulation of solar thermal systems with CARNOT blockset in the environment MATLAB-Simulink. Proceedings Eurosun 2000. - Winteler, C., Dott, R., Afjei, T., & Hafner, B. (2014). Seasonal performance of a combined solar, heat pump and latent heat storage system. Energy Procedia, 48, 689-700. - Ochs F., Krimbacher, P., Siegele, D., & Feist, W. (2014)Niedertemperaturheizung in Kombination mit einer dezentralen Boiler-Wärmepumpe, Bausim2014, Aachen - Siegele, D., Ochs, F., & Feist, W. MODELLING AND SIMULATION OF FAÇADE INTEGRATED ACTIVE COMPONENTS WITH MATLAB/SIMULINK, Bausim2014, Aachen - Riederer, P. (2005, August). Matlab/Simulink for building and HVAC simulation-State of the art. In Ninth international IBPSA conference (pp. 1019-1026). - Brandmayr, S., Konrad, M., Zoerner, W., & Hanby, V. I. (2008). Simulation of thermosyphon solar hot water systems using Matlab/Simulink and Carnot, Second International Conference on Solar heating and Cooling of Buildings (EUROSUN 2008) Lisbon, Portugal - Brandmayr, S., & Zörner, W. Forschungsvorhaben–Optimierte Thermosiphon-Solaranlagen, 6, Schlussbericht DBU-Projekt, 2010 |  |  |  | 1988 Martin de Wit, Driessen, H.H. ELAN- A Computer Model for Building Energy Design. Building and Environment 23, pp. 285-289 1999 Jos van Schijndel, Wit, M.H. de., A Building Physics Toolbox in Matlab. 5th Symposium on Building Physics in the Nordic Countries. Gothenburg, Sweden.,1999 2006 Martin de Wit, HAMBase, Heat, Air and Moisture Model for Building and Systems Evaluation, Bouwstenen 100, Eindhoven University of Technology, 112 pages 2007 Jos van Schijndel, Integrated heat air and moisture modeling and simulation. Eindhoven: Technische Universiteit, PhD thesis, 200 pages 2010 Jos van Schijndel, HAMLab ( website) H.L. Schellen, Heating Monumental Churches. PhD diss., Eindhoven University of Technology (2002). A.W.M. van Schijndel, H. L. Schellen, J. L. Wijffelaars, K. van Zundert, Application of An Integrated Indoor Climate, HVAC and Showcase Model for the Indoor Climate Performance of a Museum, Energy and Buildings 40-4 (2008) 647–653. A.W.M. van Schijndel, Integrated ModelingModelling of Dynamic Heat, Air and Moisture Processes in Buildings and Systems Using SimuLink and COMSOL, Building Simulation: An International Journal 2-2 (2009) 143–155. R.J.M. Lony, A.W. M. van Schijndel, H. L. Schellen, Evaluation of the Climate Control Performance and Reliability of Active Display Cases, Restoration of Buildings and Monuments 16 -1 (2010) 15–26. A.W.M. van Schijndel, H. L. Schellen, W. J. Timmermans, Simulation of the Climate System Performance of a Museum in Case of Failure Events, Energy and Buildings 42 (10) (2010) 1790–1796. Z. Huijbregts, R. P. Kramer, M. H. J. Martens, A. W. M. van Schijndel, H. L. Schellen, A Proposed Method to Assess the Damage Risk of Future Climate Change to Museum Objects in Historic Buildings, Building and Environment 55-1(2012) 43–56. R.P. Kramer, M.P.E. Maas, M.H.J. Martens, A.W.M. van Schijndel, H.L. Schellen, Energy conservation in museums using different setpoint strategies: A case study for a state-of-the-art museum using building simulations Applied Energy 158 (2015) 446–458
Field of applications |  | B, HVAC, DHC, HS |  |  |  | B, HVAC, HS
Details (applications) |  | Design of HVAC systems and decentralized renewable power production. Control strategies for buildings, single and multi zone buildings, district heating with decentralized production, storage and CHP. Simulation of hybrid systems including district cooling, storage, power-to-heat unit, PV systems |  |  |  | Design of HVAC systems, control strategies for buildings, single and multi zone buildings. Simulation of hybrid systems including storage, heat pumps.
The library is/was used by industry / academia |  | The companies Vaillant and Viessmann are using the library for their product development. Amoung universities and institutes are Uni Innsbruck, FH Nordwestschweiz, FH Ingolstadt, FH Aachen, FH Düssedorf, FH Wels, Uni Darmstadt, Uni Bayreuth, Uni Dresden, KIT. Presently, there are > 300 known users. |  |  |  | The library is mainly used by academia
|  | Available | Number of tests / examples | Validated | Description | Available | Number of tests / examples | Validated | Description
Buildings and Thermal zones | [6 empty] | >50 |  | HAMBase has been validated for heat and moisture flow by numerous experimental data. See above mentioned publications. Amonst others BES test and IEA Annex 41
Reduced order
| Equivalent air temperature |  |  |  |  | x |  |  | This package contains models to calculate an equivalent air temperature taking into account short-wave and long-wave radiation on exterior surfaces.
| Reduced order | x |  | IEA Task 54 | One-zone model with combined air temperature. |  |  | de Wit (2006) | Thermal Zone seconder with time delay
Mixed Air |  | x |  |  | completely mixed room | x |  | BestTest; IEA Annex 41 | Room model that assumes the air to be completely mixed.
CFD |  | x |  |  |  | x |  | Schijndel (2007) | Room model S-Function interface with Comsol Multiphysics. So 3D FEM applications like CFD, Stress/strain are integrated by the availabilty of Comsol
Wall, Window |  | x |  |  | Beuken model
District heating and cooling
Pipe
| Steady state | x |  | pressure drop calculations and measurements | pressure drop calculation with quadratic approximation
| Dynamic | x |  | analytical solutions | mulitnode thermal pipe model
Producer
| simplified | x |  | master student work | models for CHP, boiler, heat pump, solar thermal collector, PV generator
| sophisticated | partly |  |  | detailed models deveoped by universities or companies
| Power to Heat | x | 2 | measurement | CHP models available
Industrial waste heat
Consumer
| Heating | x |  | measurement, reference simulation tools (TASK 54) | complete modelling of the heating circuit in a building including pumps (simplified pressure drop calculation) and floor heating or radiator
| Cooling | x |  |  | complete modelling of the cooling circuit in a building including pumps (simplified pressure drop calculation) and floor heating or radiator. Possibility to model AHU.
Storage
pressure expansion vessel
| stratified storage tank (with and without HX) | x | 3 | EN 12977 test and validation (measurements and reference scenarios), comparison with other models (TRNSYS) | Mulitnode 1-D model with variable number of connections and heat exchangers.
Decentralized producer
| Solar collectors | x | 3 | comparison to other simulation tools (TRNSYS, Polysun), validation with EN12975 measurement | glazed and unglazed solar thermal collector (EN 12975) Mulinode 1-D collector model
| PV module | x | 2 | measurement, other simulation tools (PVSOL) | simplified model for the power production
CHP
Domerstic Heat Water Profile |  | yes | 5 | EN 12977 and others | possibility to use DHW profiles generated by the library or by external sources
HVAC | [8 empty] | General remark: HAMBase is based on air balances
Boiler |  | x | 3 | master thesis, measurements | boiler with efficiency lookup table using data from standardized boiler tests. Model can be parametrized for wall hung boilers, floor standing boilers and biomass boilers
Chillers |  | x | 3 | master thesis | electric driven chiller model using lookup table thermal driven chiller using delta-delta-T model cooling tower model
Heat Exchanger (heater or cooler; Cooling and Dehumidifying coil) |  | x | 3 | master thesis, analytical solution | model based on NTU equation
Borefield model |  | x | 1 | PhD thesis | model of ETH Zuerich for single borehole and borefield
Embedded pipe (e.g. for concrete core activation) |  | x | 1 | FHNW project "TABS" | integrated in the building model
Radiator for space heating |  | x | 2 | TASK 54 and EN422 | simplified model using radiator equation
Heat pumps |  | x | 5 | master thesis, measurements, field test data | model based in lookup tables model based on bilinear temperature approach (Schwamberger 1991) defrost model for air source HP currently under development
Other Models |  | x |  |  | Cntrol function blocks such as On/Off controller or heating curve, measurement devices such as T-sensors or heat meters, hydraulic components like valves, pumps, T-pieces and pipes, Ventilation system for the building. See above also for component models. Some models are available with parameter sets from manufacturers Weather data handling e.g. from TRY or Meteonorm; solar radiation calculation on inclined surface; radiation and sky models for direct, diffuse and global solar radiation treatment; different models (material properties, solar position; sun diagram) available as simulink model and matlab function;
Power System
Transmission |  |  |  |  | general simplified approach of power transmission without differentiating AC or DC
DC
AC
Balanced
Unbalanced
Storage
| Battery | x | 1 | measurement | 3 models of a simplified electric energy storage available, model takes charging / discharging efficiency and standby loss into account
Sources
PV
| Wind | x | 2 | other simulation tools and measurement | power generation of a PV module with different orientation, inverter model
Generator
Fuel Cell
Synchronous Machines
| Induction Machines | x | 3 | VDI 4655 | electric load profiles from external sources can be used
Load
| Electric Load Profile | x | 3 | VDI 4655 | electric load profiles from external sources can be used
Associated Tools | [5 empty] | We developed a library of models in Matlab, SimuLink and Comsol called HAMLab. http://archbps1.campus.tue.nl/bpswiki/index.php/Hamlab

## TRNSYS
|  | Standard |  |  |  | TUD
Open Source / commercial | [5 empty] | Lizenz von Standard-TRNSYS erforderlich
Simulation environments | [5 empty] | Zur Qualitätssi-cherung und Validierung werden automatisierte Testfälle (z. B. DIN EN ISO 13791, DIN EN 15255 und 15265, VDI 6007) zur Plausibilitätskontrolle vorgenommen.
Developed by | [5 empty] | Weiterentwicklungen TYPE56 – Gebäude (3D) Kernal-Routinen und Online-Auswertung Neuentwicklungen TYPE57 – Heizungsanlage TYPE58 – Kopplung Optimierung TYPE7 – Kessel TYPE158 – thermisch-hygrisches Wandmodell TYPE154 - KWK TYPE157 – Gebäudedurchströmung TYPE161 – Kopplung CFD TYPE161 – Erdreichsonde / Erdreichkollektor TYPE201 – Wärmepumpe TYPE207 – Kopplung Simulation/Emulation u.a.
Releases (first/last release, if open source development: commits (last commit), contributors | [5 empty] | interne Versionierung mit Subversion
Connectors | [5 empty] | jedes Modul wird automatisch mittels Software (ein2dek) mit einander verbunden. Der Nutzer hat die Möglichkeit die Verbindungen entsprechnd seiner Aufgabenstellung anzu passen.
Media library (if fluid) | [5 empty] | Stoffwert-Gleichungen nach Glück und Standard-Gleichungen Luft von TRNSYS
Publications: Library developments and based on Applications
Field of applications | [5 empty] | internal usage
Details (applications) | [5 empty] | Heiz- und Kühllastberechnung, Rohrauslegung mit TestNetz (eigenes CAD-Programm)
The library is/was used by industry / academia
|  | Available | Number of tests / examples | Validated | Description | Available | Number of tests / examples | Validated | Description
Buildings and Thermal zones |  |  | 6 |  |  |  | 20+
Reduced order
Equivalent air temperature
| Reduced order | x |  |  |  | x | x
Mixed Air |  | x |  |  |  | x | x
CFD |  | x |  |  |  | x | x
Wall, Window
District heating and cooling
Pipe
| Steady state | x |  |  |  | x
| Dynamic | x |  |  |  | x
Producer | [5 empty] | x | x
simplified
sophisticated
Power to Heat
Industrial waste heat
Consumer | [5 empty] | x | x
Heating
Cooling
Storage
pressure expansion vessel
stratified storage tank (with and without HX)
Decentralized producer
Solar collectors
PV module
CHP
Domerstic Heat Water Profile
HVAC |  |  | 2 |  |  |  | 50+
Boiler |  | x |  |  |  | x
Chillers |  | x | x |  |  | x | x
Heat Exchanger (heater or cooler; Cooling and Dehumidifying coil) |  | x |  |  |  | x | x
Borefield model
Embedded pipe (e.g. for concrete core activation) |  | x
Radiator for space heating |  | x |  |  |  | x | x
Heat pumps |  | x |  |  |  | x | x
Other Models |  | x |  |  |  | x | x
Power System |  |  | 3
Transmission
| DC |  |  |  |  | x
| AC |  |  |  |  | x | x
| Balanced |  |  |  |  | x
| Unbalanced |  |  |  |  | x
Storage
| Battery | x |  |  |  | x
Sources
| PV | x |  |  |  | x
| Wind |  |  |  |  | x
| Generator | x
Fuel Cell
Synchronous Machines
Induction Machines
Load
Electric Load Profile
Associated Tools

## IDA-ICE
|  | IDA-ICE |  |  |  | IDA ICE is not a model library, but rather a simulation application based on a library
Open Source / commercial |  | Commercial license. Models are open source but copyright protected.
Simulation environments |  | IDA Simulation Environment. Current release.
Developed by |  | Many different sources, but first core library developed in IEA Annex 22
Releases (first/last release, if open source development: commits (last commit), contributors |  | First commercial release in 1999. Last release Sept 2016
Connectors |  | Typically Pressure, massflow, temperature, moist fraction (of air), CO2 fraction (of air)
Media library (if fluid) |  | Media models for moist air and water with anti-freeze agent added.
Publications: Library developments and based on Applications |  | New features are generally not academically published. First edition published in IEA Annex 22 final report.
Field of applications |  | B, HVAC
Details (applications) |  | Mostly used for whole-building design, including envelope, systems and controls.
The library is/was used by industry / academia |  | Numerous commercial as well as academic appications.
|  | Available | Number of tests / examples | Validated | Description
Buildings and Thermal zones |  |  | 6
Reduced order
Equivalent air temperature
Reduced order
Mixed Air |  | x |  | ASHRAE 140, CEN Standard EN 13791, International Energy Agency SHC Task 34, Technical Memorandum 33 (TM 33), LEED and BREEAM, DGNB
CFD |  | x |  |  | Radiation calculation with view factors
1 Node model with temperature gradient |  | x |  |  | Single air node, but many mass nodes per zone.
District heating and cooling
Pipe
| Steady state | x |  |  | without dynamic behaviour
| Dynamic | x |  |  | finite difference and plug flow versions
Producer
| simplified | x |  |  | boilers, heat pumps, CHP, solar thermal
sophisticated
Power to Heat
Industrial waste heat
Consumer
| Heating | x |  |  | buildings, load profile
| Cooling | x |  |  | buildings, load profile
Storage
| pressure expansion vessel | x
| stratified storage tank (with and without HX) | x |  |  | The number of water layers in the tank can be set arbitrary. Ideal tank option: The water is taken from the water tank (ideally) at the tank height with the desired temperature level and is reintroduced into the tank height with the related tank temperature; non-ideal option: The water exchange at a fix tank height.
Decentralized producer
| Solar collectors | x |  |  | flat plate collector with quadratic effiency (Duffie Beckman)
PV module
CHP
HVAC |  |  | 2
Boiler |  | x |  |  | efficiency described by a bicubic function or constants
Chillers |  | x |  |  | same
Heat Exchanger (heater or cooler; Cooling and Dehumidifying coil) |  | x |  |  | with given UA value or computed with rating conditions
Borefield model |  | x |  |  | Multiple inclined holes with single or double U-pipe in homogenous ground
Embedded pipe (e.g. for concrete core activation)
Radiator for space heating
Heat pumps |  | x |  |  | physical model of heat exchangers, empirical model of vapour compression cycle
Other Models |  | x |  |  | Active beam unit for heating and cooling, Cooling tower, radiant slab models, radiators models for hydronic space heating systems, cooling and heating coils
Power System |  |  | 3
Transmission
| DC | under development
| AC | under development
| Balanced | under development
| Unbalanced | under development
Storage
| Battery | under development
Sources
| PV | x |  |  | with overall efficiency
| Wind | x |  |  | effiency is a function of the wind speed and the height above ground
| Sophisticated PV | under development
| Optimizer, Inverter | under development
Air Handling Units
| cooling coil | x
| heating coil | x
| sorption, hygroscopic wheel | x
| Mixing box | x
| steam humididifier | x
| adiabatic evaoprative humidifier | x
Associated Tools